## Navigation
Filename | 980058 | Run | Header start | Header end | Data start | Data end | PHI | SIG | MON | TIME | VAR | VARCOL
Number of runs | 4 | 1 | 5 | 15 | 18 | 50 | 2 | 5 | 4 | 3 | XPOS | 10
Parsed? | YES | 2 | 55 | 65 | 68 | 100 | 2 | 5 | 4 | 3 | XPOS | 10
Last row | 200 | 3 | 105 | 115 | 118 | 150 | 2 | 5 | 4 | 3 | XPOS | 10
Number of columns in STRAINS worksheet | 19 | 4 | 155 | 165 | 168 | 200 | 2 | 5 | 4 | 3 | XPOS | 10
First drive column in STRAINS worksheet | 5
Last drive column in STRAINS worksheet | 13
Number of Grids | 0
Instrument | L3

## Strains
Run | Record | File | Date/Time | 2TM | TMFR | PSI | PHI | DSRD | XPOS | YPOS | ZPOS | DSTD | OSC | # points | Monitor | Time(s) | Max | Min
1 | 2 | 980058 | 2014-01-14 12:46 | 71.88 | 35.94 | -45 | -90.2 | 12.5 | -77.58 | -17.815 | 178.98 | 0 | OFF | 33 | 7000 | 36 | 144 | 28
2 | 6 | 980058 | 2014-01-14 13:08 | 71.88 | 35.94 | -45 | -90.2 | 12.5 | -78.05 | -17.725 | 139.615 | 0 | OFF | 33 | 7000 | 37 | 141 | 28
3 | 2 | 980058 | 2014-01-14 15:09 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -77.58 | -17.815 | 178.98 | 0 | OFF | 33 | 7000 | 37 | 141 | 30
4 | 6 | 980058 | 2014-01-14 15:30 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -78.05 | -17.725 | 139.615 | 0 | OFF | 33 | 7000 | 37 | 133 | 27

## 980058
Runs = | 2
Run : 1 Seq 1 Rec 2 File L3A:980058 Date 14-JAN-2014 12:46:26.81
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS= -77.580 YPOS= -17.815 ZPOS= 178.980 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 92.8126 | -78.6101 | 0.43734 | 36.523 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -77.58 | 37 | 7000 | 118 | 129.3356 | 1.0889 | 0.7386
2 | -77.655 | 37 | 7000 | 132 | 129.3356 | 0.053781
3 | -77.72 | 37 | 7000 | 140 | 129.3356 | 0.81235
4 | -77.785 | 38 | 7000 | 136 | 129.3356 | 0.32658
5 | -77.855 | 37 | 7000 | 138 | 129.3356 | 0.544
6 | -77.915 | 37 | 7000 | 124 | 129.3356 | 0.22959
7 | -77.985 | 36 | 7000 | 128 | 129.3356 | 0.013936
8 | -78.05 | 37 | 7000 | 141 | 129.3356 | 0.96495
9 | -78.105 | 36 | 7000 | 144 | 129.3356 | 1.4934
10 | -78.175 | 37 | 7000 | 114 | 129.3356 | 2.063
11 | -78.24 | 36 | 7000 | 118 | 129.3356 | 1.0889
12 | -78.3 | 37 | 7000 | 132 | 129.3356 | 0.053781
13 | -78.37 | 37 | 7000 | 126 | 127.0188 | 0.0082383
14 | -78.44 | 37 | 7000 | 111 | 119.947 | 0.72115
15 | -78.505 | 37 | 7000 | 111 | 109.1221 | 0.031771
16 | -78.57 | 38 | 7000 | 104 | 94.1968 | 0.92407
17 | -78.635 | 38 | 7000 | 78 | 75.7704 | 0.06373
18 | -78.7 | 37 | 7000 | 49 | 59.8801 | 2.4159
19 | -78.765 | 36 | 7000 | 56 | 48.0902 | 1.1172
20 | -78.83 | 37 | 7000 | 43 | 40.4008 | 0.15712
21 | -78.895 | 37 | 7000 | 32 | 36.8117 | 0.72352
22 | -78.96 | 36 | 7000 | 41 | 36.523 | 0.48887
23 | -79.025 | 37 | 7000 | 35 | 36.523 | 0.06627
24 | -79.09 | 37 | 7000 | 41 | 36.523 | 0.48887
25 | -79.155 | 37 | 7000 | 38 | 36.523 | 0.05741
26 | -79.22 | 36 | 7000 | 39 | 36.523 | 0.15732
27 | -79.285 | 36 | 7000 | 35 | 36.523 | 0.06627
28 | -79.345 | 37 | 7000 | 28 | 36.523 | 2.5943
29 | -79.41 | 37 | 7000 | 32 | 36.523 | 0.63929
30 | -79.48 | 36 | 7000 | 36 | 36.523 | 0.0075974
31 | -79.535 | 36 | 7000 | 43 | 36.523 | 0.97562
32 | -79.61 | 37 | 7000 | 37 | 36.523 | 0.00615
33 | -79.67 | 36 | 7000 | 43 | 36.523 | 0.97562
Run : 2 Seq 2 Rec 6 File L3A:980058 Date 14-JAN-2014 13:08:05.97
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS= -78.050 YPOS= -17.725 ZPOS= 139.615 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 82.7328 | -78.9138 | 0.38817 | 36.017 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -78.045 | 37 | 7000 | 125 | 118.7498 | 0.31252 | 0.82739
2 | -78.12 | 38 | 7000 | 109 | 118.7498 | 0.8721
3 | -78.185 | 37 | 7000 | 116 | 118.7498 | 0.065186
4 | -78.255 | 37 | 7000 | 112 | 118.7498 | 0.40679
5 | -78.325 | 37 | 7000 | 115 | 118.7498 | 0.12227
6 | -78.39 | 37 | 7000 | 129 | 118.7498 | 0.81447
7 | -78.455 | 36 | 7000 | 116 | 118.7498 | 0.065186
8 | -78.52 | 37 | 7000 | 141 | 118.7498 | 3.5111
9 | -78.575 | 37 | 7000 | 122 | 118.7498 | 0.086587
10 | -78.65 | 37 | 7000 | 107 | 118.6878 | 1.2767
11 | -78.705 | 37 | 7000 | 115 | 116.3847 | 0.016673
12 | -78.775 | 37 | 7000 | 114 | 108.649 | 0.25117
13 | -78.835 | 37 | 7000 | 100 | 97.7355 | 0.051281
14 | -78.905 | 36 | 7000 | 80 | 80.0063 | 4.9561e-07
15 | -78.98 | 38 | 7000 | 53 | 59.8457 | 0.88422
16 | -79.04 | 37 | 7000 | 54 | 48.0961 | 0.64548
17 | -79.11 | 36 | 7000 | 39 | 39.385 | 0.0038012
18 | -79.17 | 36 | 7000 | 42 | 36.2013 | 0.8006
19 | -79.23 | 36 | 7000 | 31 | 36.017 | 0.81195
20 | -79.305 | 37 | 7000 | 36 | 36.017 | 8.0523e-06
21 | -79.36 | 36 | 7000 | 38 | 36.017 | 0.10348
22 | -79.43 | 37 | 7000 | 32 | 36.017 | 0.50427
23 | -79.495 | 36 | 7000 | 36 | 36.017 | 8.0523e-06
24 | -79.555 | 37 | 7000 | 37 | 36.017 | 0.026115
25 | -79.625 | 37 | 7000 | 37 | 36.017 | 0.026115
26 | -79.69 | 37 | 7000 | 30 | 36.017 | 1.2068
27 | -79.755 | 37 | 7000 | 47 | 36.017 | 2.5665
28 | -79.82 | 37 | 7000 | 31 | 36.017 | 0.81195
29 | -79.885 | 36 | 7000 | 43 | 36.017 | 1.134
30 | -79.945 | 38 | 7000 | 49 | 36.017 | 3.44
31 | -80.015 | 37 | 7000 | 41 | 36.017 | 0.60561
32 | -80.08 | 37 | 7000 | 33 | 36.017 | 0.27583
33 | -80.145 | 37 | 7000 | 28 | 36.017 | 2.2955
Run : 3 Seq 1 Rec 2 File L3A:980058 Date 14-JAN-2014 15:08:41.95
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS= -77.580 YPOS= -17.815 ZPOS= 178.980 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 90.2597 | -78.4102 | 0.33853 | 38.0343 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -77.59 | 37 | 7000 | 141 | 128.294 | 1.145 | 0.75851
2 | -77.655 | 36 | 7000 | 125 | 128.294 | 0.086801
3 | -77.72 | 37 | 7000 | 135 | 128.294 | 0.33312
4 | -77.79 | 37 | 7000 | 127 | 128.294 | 0.013184
5 | -77.85 | 37 | 7000 | 118 | 128.294 | 0.89801
6 | -77.915 | 37 | 7000 | 135 | 128.294 | 0.33312
7 | -77.985 | 36 | 7000 | 141 | 128.294 | 1.145
8 | -78.05 | 36 | 7000 | 106 | 128.294 | 4.6889
9 | -78.11 | 37 | 7000 | 128 | 128.294 | 0.00067508
10 | -78.18 | 37 | 7000 | 137 | 128.2283 | 0.56162
11 | -78.245 | 37 | 7000 | 134 | 123.966 | 0.75136
12 | -78.3 | 37 | 7000 | 103 | 115.1612 | 1.4359
13 | -78.37 | 37 | 7000 | 96 | 97.0637 | 0.011785
14 | -78.43 | 37 | 7000 | 83 | 76.0229 | 0.58651
15 | -78.5 | 36 | 7000 | 54 | 55.6658 | 0.051389
16 | -78.56 | 37 | 7000 | 45 | 44.3602 | 0.0090961
17 | -78.63 | 37 | 7000 | 32 | 38.3375 | 1.2551
18 | -78.69 | 37 | 7000 | 41 | 38.0343 | 0.21452
19 | -78.76 | 37 | 7000 | 42 | 38.0343 | 0.37445
20 | -78.83 | 37 | 7000 | 43 | 38.0343 | 0.57345
21 | -78.895 | 37 | 7000 | 37 | 38.0343 | 0.028911
22 | -78.95 | 37 | 7000 | 43 | 38.0343 | 0.57345
23 | -79.02 | 37 | 7000 | 31 | 38.0343 | 1.5962
24 | -79.09 | 37 | 7000 | 37 | 38.0343 | 0.028911
25 | -79.145 | 37 | 7000 | 41 | 38.0343 | 0.21452
26 | -79.215 | 37 | 7000 | 30 | 38.0343 | 2.1517
27 | -79.285 | 37 | 7000 | 46 | 38.0343 | 1.3794
28 | -79.34 | 37 | 7000 | 39 | 38.0343 | 0.023913
29 | -79.415 | 37 | 7000 | 37 | 38.0343 | 0.028911
30 | -79.48 | 37 | 7000 | 34 | 38.0343 | 0.47869
31 | -79.54 | 37 | 7000 | 44 | 38.0343 | 0.80886
32 | -79.61 | 37 | 7000 | 41 | 38.0343 | 0.21452
33 | -79.675 | 37 | 7000 | 38 | 38.0343 | 3.0915e-05
Run : 4 Seq 2 Rec 6 File L3A:980058 Date 14-JAN-2014 15:30:27.07
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS= -78.050 YPOS= -17.725 ZPOS= 139.615 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 82.7642 | -78.7468 | 0.32435 | 37.9155 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -78.045 | 37 | 7000 | 112 | 120.6796 | 0.67264 | 1.1559
2 | -78.12 | 37 | 7000 | 132 | 120.6796 | 0.97084
3 | -78.19 | 37 | 7000 | 114 | 120.6796 | 0.39138
4 | -78.26 | 36 | 7000 | 117 | 120.6796 | 0.11572
5 | -78.32 | 36 | 7000 | 112 | 120.6796 | 0.67264
6 | -78.38 | 37 | 7000 | 125 | 120.6796 | 0.14932
7 | -78.45 | 37 | 7000 | 126 | 120.6796 | 0.22465
8 | -78.51 | 37 | 7000 | 133 | 120.6796 | 1.1413
9 | -78.58 | 37 | 7000 | 111 | 117.5991 | 0.39232
10 | -78.65 | 37 | 7000 | 125 | 106.8519 | 2.6348
11 | -78.715 | 37 | 7000 | 75 | 89.9689 | 2.9876
12 | -78.77 | 37 | 7000 | 88 | 71.3397 | 3.1541
13 | -78.84 | 36 | 7000 | 45 | 52.4923 | 1.2474
14 | -78.91 | 36 | 7000 | 47 | 41.3548 | 0.67805
15 | -78.975 | 37 | 7000 | 27 | 37.9164 | 4.4137
16 | -79.04 | 37 | 7000 | 34 | 37.9155 | 0.4509
17 | -79.105 | 37 | 7000 | 39 | 37.9155 | 0.03016
18 | -79.17 | 37 | 7000 | 33 | 37.9155 | 0.73217
19 | -79.235 | 37 | 7000 | 31 | 37.9155 | 1.5427
20 | -79.3 | 37 | 7000 | 37 | 37.9155 | 0.02265
21 | -79.365 | 37 | 7000 | 34 | 37.9155 | 0.4509
22 | -79.425 | 37 | 7000 | 42 | 37.9155 | 0.39723
23 | -79.495 | 37 | 7000 | 42 | 37.9155 | 0.39723
24 | -79.56 | 37 | 7000 | 42 | 37.9155 | 0.39723
25 | -79.625 | 37 | 7000 | 42 | 37.9155 | 0.39723
26 | -79.685 | 37 | 7000 | 41 | 37.9155 | 0.23206
27 | -79.755 | 37 | 7000 | 48 | 37.9155 | 2.1187
28 | -79.82 | 36 | 7000 | 31 | 37.9155 | 1.5427
29 | -79.88 | 37 | 7000 | 41 | 37.9155 | 0.23206
30 | -79.95 | 37 | 7000 | 47 | 37.9155 | 1.7559
31 | -80.01 | 37 | 7000 | 37 | 37.9155 | 0.02265
32 | -80.08 | 36 | 7000 | 50 | 37.9155 | 2.9207
33 | -80.145 | 37 | 7000 | 39 | 37.9155 | 0.03016

## Setup
Transverse/normal orientation
[5 empty] | Delta = | -0.065 |  |  |  |  | Delta = | -0.065
| Plate H1 |  |  |  | Nsteps = | 33 |  |  |  |  | Nsteps = | 33
Tooth | Xtel | X-AXIS | Y-AXIS | Z-AXIS | X-AXIS | Y-AXIS | Z-AXIS | X-finish | X-wall | X-AXIS | Y-AXIS | Z-AXIS | Yfinish | X-AXIS | Y-AXIS | Z-AXIS
1 | -78.84 | -77.84 | -18.28 | 187.805 | -77.84 | -17.78 | 187.805 | -79.92 |  | 0.15 | -17.28 | 187.805 | -19.36 | 2.5 | -17.28 | 187.805
2 | -78.58 | -77.58 | -18.315 | 178.98 | -77.58 | -17.815 | 178.98 | -79.66 | -78.4102 | -78.2602 | -17.315 | 178.98 | -19.395 | -75.9102 | -17.315 | 178.98
3 | -78.73 | -77.73 | -18.205 | 169.275 | -77.73 | -17.705 | 169.275 | -79.81 |  | 0.15 | -17.205 | 169.275 | -19.285 | 2.5 | -17.205 | 169.275
4 | -78.955 | -77.955 | -18.115 | 159.205 | -77.955 | -17.615 | 159.205 | -80.035 |  | 0.15 | -17.115 | 159.205 | -19.195 | 2.5 | -17.115 | 159.205
5 | -79.08 | -78.08 | -18.145 | 150.5 | -78.08 | -17.645 | 150.5 | -80.16 |  | 0.15 | -17.145 | 150.5 | -19.225 | 2.5 | -17.145 | 150.5
6 | -79.05 | -78.05 | -18.225 | 139.615 | -78.05 | -17.725 | 139.615 | -80.13 | -78.7468 | -78.5968 | -17.225 | 139.615 | -19.305 | -76.2468 | -17.225 | 139.615
7 | -79.57 | -78.57 | -17.375 | 129.39 | -78.57 | -16.875 | 129.39 | -80.65 |  | 0.15 | -16.375 | 129.39 | -18.455 | 2.5 | -16.375 | 129.39
8 | -79.785 | -78.785 | -18.705 | 119.485 | -78.785 | -18.205 | 119.485 | -80.865 |  | 0.15 | -17.705 | 119.485 | -19.785 | 2.5 | -17.705 | 119.485
9 | -79.32 | -78.32 | -18.475 | 109.025 | -78.32 | -17.975 | 109.025 | -80.4 |  | 0.15 | -17.475 | 109.025 | -19.555 | 2.5 | -17.475 | 109.025
10 | -78.55 | -77.55 | -18.125 | 98.95 | -77.55 | -17.625 | 98.95 | -79.63 |  | 0.15 | -17.125 | 98.95 | -19.205 | 2.5 | -17.125 | 98.95
11 | -78.465 | -77.465 | -18.345 | 88.9 | -77.465 | -17.845 | 88.9 | -79.545 |  | 0.15 | -17.345 | 88.9 | -19.425 | 2.5 | -17.345 | 88.9
Max | -78.465 | -77.465 | -17.375 | 187.805
Min | -79.785 | -78.785 | -18.705 | 88.9