## Navigation
Filename | 980040 | Run | Header start | Header end | Data start | Data end | PHI | SIG | MON | TIME | VAR | VARCOL
Number of runs | 24 | 1 | 5 | 15 | 18 | 22 | 2 | 5 | 4 | 3 | XPOS | 10
Parsed? | YES | 2 | 27 | 37 | 40 | 72 | 2 | 5 | 4 | 3 | XPOS | 10
Last row | 1147 | 3 | 77 | 87 | 90 | 122 | 2 | 5 | 4 | 3 | XPOS | 10
Number of columns in STRAINS worksheet | 19 | 4 | 127 | 137 | 140 | 172 | 2 | 5 | 4 | 3 | XPOS | 10
First drive column in STRAINS worksheet | 5 | 5 | 177 | 187 | 190 | 222 | 2 | 5 | 4 | 3 | XPOS | 10
Last drive column in STRAINS worksheet | 13 | 6 | 227 | 237 | 240 | 272 | 2 | 5 | 4 | 3 | XPOS | 10
Number of Grids | 0 | 7 | 277 | 287 | 290 | 322 | 2 | 5 | 4 | 3 | XPOS | 10
Instrument | L3 | 8 | 327 | 337 | 340 | 372 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 9 | 377 | 387 | 390 | 422 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 10 | 427 | 437 | 440 | 472 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 11 | 477 | 487 | 490 | 522 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 12 | 527 | 537 | 540 | 572 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 13 | 577 | 587 | 590 | 622 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 14 | 627 | 637 | 640 | 672 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 15 | 677 | 687 | 690 | 722 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 16 | 727 | 737 | 740 | 772 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 17 | 777 | 787 | 790 | 822 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 18 | 827 | 837 | 840 | 872 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 19 | 877 | 887 | 890 | 922 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 20 | 927 | 937 | 940 | 947 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 21 | 952 | 962 | 965 | 997 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 22 | 1002 | 1012 | 1015 | 1047 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 23 | 1052 | 1062 | 1065 | 1097 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 24 | 1102 | 1112 | 1115 | 1147 | 2 | 5 | 4 | 3 | XPOS | 10

## Strains
Run | Record | File | Date/Time | 2TM | TMFR | PSI | PHI | DSRD | XPOS | YPOS | ZPOS | DSTD | OSC | # points | Monitor | Time(s) | Max | Min
1 | 1 | 980040 | 2013-12-30 14:58 | 71.88 | 35.94 | -135 | -90.2 | 13.5 | -168.33 | -15.925 | 127 | 0 | OFF | 5 | 7000 | 36 | 75 | 51
2 | 1 | 980040 | 2013-12-30 18:14 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -169.04 | -15.54 | 150 | 0 | OFF | 33 | 7000 | 37 | 182 | 45
3 | 2 | 980040 | 2013-12-30 18:35 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -168.65 | -15.58 | 141.605 | 0 | OFF | 33 | 7000 | 36 | 191 | 49
4 | 3 | 980040 | 2013-12-30 18:57 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -168.78 | -15.58 | 131.32 | 0 | OFF | 33 | 7000 | 36 | 173 | 43
5 | 4 | 980040 | 2013-12-30 19:18 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -167.715 | -15.62 | 120.44 | 0 | OFF | 33 | 7000 | 36 | 181 | 44
6 | 5 | 980040 | 2013-12-30 19:40 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -167.75 | -15.625 | 111.03 | 0 | OFF | 33 | 7000 | 36 | 188 | 48
7 | 6 | 980040 | 2013-12-30 20:01 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -167.725 | -15.625 | 102.065 | 0 | OFF | 33 | 7000 | 37 | 177 | 44
8 | 7 | 980040 | 2013-12-30 20:23 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -169.235 | -15.71 | 90.885 | 0 | OFF | 33 | 21000 | 111 | 346 | 150
9 | 8 | 980040 | 2013-12-30 21:25 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -169.445 | -15.71 | 81.955 | 0 | OFF | 33 | 7000 | 37 | 200 | 51
10 | 9 | 980040 | 2013-12-30 21:47 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -168.6 | -15.725 | 71.845 | 0 | OFF | 33 | 7000 | 36 | 186 | 49
11 | 10 | 980040 | 2013-12-30 22:09 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -168.175 | -15.8 | 60.78 | 0 | OFF | 33 | 7000 | 38 | 178 | 55
12 | 11 | 980040 | 2013-12-30 22:30 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -167.41 | -15.8 | 50.97 | 0 | OFF | 33 | 7000 | 36 | 204 | 52
13 | 1 | 980040 | 2013-12-31 10:32 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -169.04 | -15.54 | 150 | 0 | OFF | 33 | 7000 | 36 | 232 | 52
14 | 2 | 980040 | 2013-12-31 10:54 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -168.65 | -15.58 | 141.605 | 0 | OFF | 33 | 7000 | 36 | 209 | 45
15 | 3 | 980040 | 2013-12-31 11:16 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -168.78 | -15.58 | 131.32 | 0 | OFF | 33 | 7000 | 36 | 211 | 51
16 | 4 | 980040 | 2013-12-31 11:37 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -167.715 | -15.62 | 120.44 | 0 | OFF | 33 | 7000 | 36 | 219 | 43
17 | 5 | 980040 | 2013-12-31 11:59 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -167.75 | -15.625 | 111.03 | 0 | OFF | 33 | 7000 | 36 | 199 | 52
18 | 6 | 980040 | 2013-12-31 12:20 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -167.725 | -15.625 | 102.065 | 0 | OFF | 33 | 7000 | 36 | 202 | 50
19 | 7 | 980040 | 2013-12-31 12:42 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -169.235 | -15.71 | 90.885 | 0 | OFF | 33 | 21000 | 110 | 337 | 154
20 | 8 | 980040 | 2013-12-31 13:43 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -169.445 | -15.71 | 81.955 | 0 | OFF | 8 | 7000 | 37 | 185 | 132
21 | 8 | 980040 | 2013-12-31 13:49 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -169.445 | -15.71 | 81.955 | 0 | OFF | 33 | 7000 | 37 | 180 | 48
22 | 9 | 980040 | 2013-12-31 14:11 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -168.6 | -15.725 | 71.845 | 0 | OFF | 33 | 7000 | 36 | 192 | 43
23 | 10 | 980040 | 2013-12-31 14:32 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -168.175 | -15.8 | 60.78 | 0 | OFF | 33 | 7000 | 37 | 217 | 46
24 | 11 | 980040 | 2013-12-31 14:54 | 71.88 | 35.94 | -135 | -90.2 | 12.5 | -167.41 | -15.8 | 50.97 | 0 | OFF | 33 | 7000 | 37 | 229 | 44

## 980040
Runs = | 9
Run : 1 Seq 1 Rec 1 File L3A:980040 Date 30-DEC-2013 14:58:06.98
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 13.500
Drv : XPOS=-168.330 YPOS= -15.925 ZPOS= 127.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | XPOS | TIME | MON= DB | SIG= IC
1 | -168.32 | 36 | 7000 | 57
2 | -168.405 | 37 | 7000 | 73
3 | -168.465 | 38 | 7000 | 51
4 | -168.535 | 37 | 7000 | 75
5 | -168.59 | 36 | 7000 | 67
Run : 2 Seq 1 Rec 1 File L3A:980040 Date 30-DEC-2013 18:13:34.32
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-169.040 YPOS= -15.540 ZPOS= 150.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 105.9086 | -170.078 | 0.44491 | 58.606 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -169.045 | 36 | 7000 | 182 | 164.5146 | 1.6799 | 1.0071
2 | -169.12 | 37 | 7000 | 180 | 164.5146 | 1.3322
3 | -169.185 | 37 | 7000 | 174 | 164.5146 | 0.51708
4 | -169.25 | 37 | 7000 | 144 | 164.5146 | 2.9226
5 | -169.31 | 37 | 7000 | 181 | 164.5146 | 1.5015
6 | -169.375 | 37 | 7000 | 160 | 164.5146 | 0.12739
7 | -169.44 | 37 | 7000 | 162 | 164.5146 | 0.039033
8 | -169.505 | 36 | 7000 | 166 | 164.5146 | 0.013291
9 | -169.56 | 37 | 7000 | 175 | 164.5146 | 0.62825
10 | -169.635 | 37 | 7000 | 155 | 164.5146 | 0.58405
11 | -169.695 | 37 | 7000 | 169 | 164.5146 | 0.11905
12 | -169.76 | 36 | 7000 | 148 | 164.5146 | 1.8428
13 | -169.825 | 37 | 7000 | 153 | 162.486 | 0.58813
14 | -169.9 | 35 | 7000 | 145 | 154.5345 | 0.62694
15 | -169.96 | 37 | 7000 | 150 | 143.8393 | 0.25303
16 | -170.03 | 37 | 7000 | 134 | 126.4927 | 0.4206
17 | -170.08 | 36 | 7000 | 115 | 110.8961 | 0.14645
18 | -170.145 | 37 | 7000 | 84 | 91.4121 | 0.65404
19 | -170.21 | 37 | 7000 | 77 | 76.4493 | 0.0039379
20 | -170.275 | 37 | 7000 | 61 | 66.0077 | 0.41111
21 | -170.34 | 37 | 7000 | 72 | 60.0873 | 1.971
22 | -170.42 | 37 | 7000 | 69 | 58.606 | 1.5657
23 | -170.47 | 37 | 7000 | 56 | 58.606 | 0.12128
24 | -170.535 | 37 | 7000 | 62 | 58.606 | 0.18579
25 | -170.605 | 37 | 7000 | 73 | 58.606 | 2.8382
26 | -170.675 | 37 | 7000 | 45 | 58.606 | 4.1139
27 | -170.74 | 38 | 7000 | 52 | 58.606 | 0.83923
28 | -170.8 | 37 | 7000 | 59 | 58.606 | 0.0026305
29 | -170.87 | 37 | 7000 | 53 | 58.606 | 0.59298
30 | -170.93 | 37 | 7000 | 65 | 58.606 | 0.62896
31 | -171 | 38 | 7000 | 57 | 58.606 | 0.045252
32 | -171.055 | 37 | 7000 | 68 | 58.606 | 1.2977
33 | -171.12 | 37 | 7000 | 53 | 58.606 | 0.59298
Run : 3 Seq 2 Rec 2 File L3A:980040 Date 30-DEC-2013 18:35:06.54
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-168.650 YPOS= -15.580 ZPOS= 141.605 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 105.3628 | -169.6113 | 0.37754 | 59.5718 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.645 | 38 | 7000 | 170 | 164.9346 | 0.15093 | 1.1291
2 | -168.715 | 36 | 7000 | 140 | 164.9346 | 4.441
3 | -168.785 | 36 | 7000 | 167 | 164.9346 | 0.025544
4 | -168.855 | 36 | 7000 | 191 | 164.9346 | 3.5571
5 | -168.91 | 37 | 7000 | 159 | 164.9346 | 0.22151
6 | -168.985 | 37 | 7000 | 163 | 164.9346 | 0.022961
7 | -169.04 | 36 | 7000 | 183 | 164.9346 | 1.7834
8 | -169.115 | 37 | 7000 | 178 | 164.9346 | 0.95902
9 | -169.18 | 37 | 7000 | 156 | 164.9346 | 0.51171
10 | -169.25 | 36 | 7000 | 162 | 164.9346 | 0.05316
11 | -169.31 | 37 | 7000 | 148 | 164.9346 | 1.9377
12 | -169.375 | 37 | 7000 | 179 | 164.2416 | 1.2168
13 | -169.435 | 37 | 7000 | 166 | 158.8646 | 0.30671
14 | -169.505 | 36 | 7000 | 134 | 145.8648 | 1.0505
15 | -169.56 | 37 | 7000 | 131 | 130.5688 | 0.0014196
16 | -169.635 | 37 | 7000 | 109 | 103.3307 | 0.29487
17 | -169.695 | 37 | 7000 | 84 | 84.4097 | 0.0019987
18 | -169.76 | 36 | 7000 | 65 | 69.918 | 0.3721
19 | -169.825 | 36 | 7000 | 67 | 61.6723 | 0.42365
20 | -169.9 | 37 | 7000 | 82 | 59.5718 | 6.1345
21 | -169.96 | 37 | 7000 | 59 | 59.5718 | 0.0055407
22 | -170.03 | 36 | 7000 | 60 | 59.5718 | 0.0030566
23 | -170.08 | 36 | 7000 | 72 | 59.5718 | 2.1453
24 | -170.145 | 37 | 7000 | 58 | 59.5718 | 0.042593
25 | -170.21 | 37 | 7000 | 56 | 59.5718 | 0.22781
26 | -170.275 | 36 | 7000 | 51 | 59.5718 | 1.4407
27 | -170.345 | 36 | 7000 | 61 | 59.5718 | 0.033441
28 | -170.42 | 37 | 7000 | 63 | 59.5718 | 0.18655
29 | -170.485 | 37 | 7000 | 71 | 59.5718 | 1.8395
30 | -170.535 | 37 | 7000 | 55 | 59.5718 | 0.38002
31 | -170.605 | 36 | 7000 | 57 | 59.5718 | 0.11603
32 | -170.675 | 36 | 7000 | 54 | 59.5718 | 0.5749
33 | -170.74 | 36 | 7000 | 49 | 59.5718 | 2.2809
Run : 4 Seq 3 Rec 3 File L3A:980040 Date 30-DEC-2013 18:56:30.52
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-168.780 YPOS= -15.580 ZPOS= 131.320 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 99.4758 | -169.7769 | 0.39388 | 57.3309 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.785 | 37 | 7000 | 161 | 156.8067 | 0.10922 | 0.83973
2 | -168.85 | 37 | 7000 | 150 | 156.8067 | 0.30887
3 | -168.92 | 37 | 7000 | 150 | 156.8067 | 0.30887
4 | -168.985 | 37 | 7000 | 157 | 156.8067 | 0.00023803
5 | -169.04 | 36 | 7000 | 163 | 156.8067 | 0.23532
6 | -169.115 | 37 | 7000 | 148 | 156.8067 | 0.52404
7 | -169.18 | 37 | 7000 | 161 | 156.8067 | 0.10922
8 | -169.25 | 37 | 7000 | 155 | 156.8067 | 0.021059
9 | -169.31 | 37 | 7000 | 152 | 156.8067 | 0.152
10 | -169.375 | 36 | 7000 | 150 | 156.8067 | 0.30887
11 | -169.435 | 37 | 7000 | 173 | 156.8067 | 1.5157
12 | -169.505 | 36 | 7000 | 168 | 156.7788 | 0.74949
13 | -169.56 | 36 | 7000 | 153 | 154.3742 | 0.012343
14 | -169.635 | 36 | 7000 | 155 | 144.8436 | 0.66549
15 | -169.705 | 37 | 7000 | 112 | 129.4404 | 2.7158
16 | -169.77 | 37 | 7000 | 121 | 109.5111 | 1.0909
17 | -169.82 | 36 | 7000 | 98 | 92.8735 | 0.26818
18 | -169.9 | 36 | 7000 | 62 | 72.8232 | 1.8894
19 | -169.96 | 37 | 7000 | 76 | 63.1715 | 2.1654
20 | -170.03 | 36 | 7000 | 50 | 57.7459 | 1.2
21 | -170.09 | 36 | 7000 | 62 | 57.3309 | 0.35162
22 | -170.15 | 37 | 7000 | 51 | 57.3309 | 0.78588
23 | -170.22 | 37 | 7000 | 54 | 57.3309 | 0.20546
24 | -170.28 | 37 | 7000 | 61 | 57.3309 | 0.2207
25 | -170.35 | 37 | 7000 | 61 | 57.3309 | 0.2207
26 | -170.415 | 37 | 7000 | 66 | 57.3309 | 1.1387
27 | -170.485 | 36 | 7000 | 55 | 57.3309 | 0.098782
28 | -170.55 | 36 | 7000 | 65 | 57.3309 | 0.90485
29 | -170.615 | 37 | 7000 | 61 | 57.3309 | 0.2207
30 | -170.67 | 37 | 7000 | 62 | 57.3309 | 0.35162
31 | -170.74 | 37 | 7000 | 43 | 57.3309 | 4.7761
32 | -170.8 | 36 | 7000 | 64 | 57.3309 | 0.69496
33 | -170.87 | 36 | 7000 | 56 | 57.3309 | 0.031629
Run : 5 Seq 4 Rec 4 File L3A:980040 Date 30-DEC-2013 19:18:25.42
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-167.715 YPOS= -15.620 ZPOS= 120.440 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 93.4837 | -168.6016 | 0.34038 | 61.0444 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.715 | 36 | 7000 | 132 | 154.5281 | 3.8448 | 1.2221
2 | -167.795 | 36 | 7000 | 156 | 154.5281 | 0.013888
3 | -167.85 | 37 | 7000 | 152 | 154.5281 | 0.042047
4 | -167.92 | 37 | 7000 | 149 | 154.5281 | 0.2051
5 | -167.98 | 36 | 7000 | 152 | 154.5281 | 0.042047
6 | -168.05 | 37 | 7000 | 166 | 154.5281 | 0.7928
7 | -168.11 | 37 | 7000 | 137 | 154.5281 | 2.2426
8 | -168.185 | 37 | 7000 | 171 | 154.5281 | 1.5867
9 | -168.24 | 36 | 7000 | 141 | 154.5281 | 1.2979
10 | -168.31 | 37 | 7000 | 167 | 154.5281 | 0.93143
11 | -168.37 | 37 | 7000 | 181 | 154.461 | 3.8913
12 | -168.44 | 36 | 7000 | 172 | 149.4775 | 2.9492
13 | -168.5 | 37 | 7000 | 137 | 138.9123 | 0.026692
14 | -168.575 | 36 | 7000 | 110 | 117.5363 | 0.51632
15 | -168.635 | 37 | 7000 | 93 | 95.7034 | 0.078582
16 | -168.705 | 36 | 7000 | 76 | 76.2451 | 0.00079032
17 | -168.755 | 37 | 7000 | 78 | 67.1875 | 1.4988
18 | -168.83 | 36 | 7000 | 57 | 61.1656 | 0.30442
19 | -168.89 | 37 | 7000 | 67 | 61.0444 | 0.52939
20 | -168.965 | 37 | 7000 | 60 | 61.0444 | 0.018179
21 | -169.025 | 37 | 7000 | 55 | 61.0444 | 0.66426
22 | -169.09 | 36 | 7000 | 55 | 61.0444 | 0.66426
23 | -169.155 | 36 | 7000 | 68 | 61.0444 | 0.71148
24 | -169.21 | 37 | 7000 | 64 | 61.0444 | 0.1365
25 | -169.285 | 36 | 7000 | 58 | 61.0444 | 0.1598
26 | -169.35 | 37 | 7000 | 44 | 61.0444 | 6.6025
27 | -169.42 | 37 | 7000 | 61 | 61.0444 | 3.2289e-05
28 | -169.48 | 36 | 7000 | 81 | 61.0444 | 4.9164
29 | -169.55 | 36 | 7000 | 62 | 61.0444 | 0.014729
30 | -169.61 | 37 | 7000 | 66 | 61.0444 | 0.37209
31 | -169.67 | 38 | 7000 | 61 | 61.0444 | 3.2289e-05
32 | -169.745 | 37 | 7000 | 66 | 61.0444 | 0.37209
33 | -169.81 | 36 | 7000 | 62 | 61.0444 | 0.014729
Run : 6 Seq 5 Rec 5 File L3A:980040 Date 30-DEC-2013 19:40:00.36
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-167.750 YPOS= -15.625 ZPOS= 111.030 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 101.3621 | -168.8027 | 0.34861 | 59.0615 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.745 | 36 | 7000 | 144 | 160.4236 | 1.8732 | 1.0802
2 | -167.825 | 37 | 7000 | 161 | 160.4236 | 0.0020635
3 | -167.895 | 37 | 7000 | 153 | 160.4236 | 0.3602
4 | -167.96 | 36 | 7000 | 156 | 160.4236 | 0.12544
5 | -168.01 | 37 | 7000 | 188 | 160.4236 | 4.045
6 | -168.075 | 38 | 7000 | 154 | 160.4236 | 0.26794
7 | -168.15 | 37 | 7000 | 158 | 160.4236 | 0.037177
8 | -168.22 | 37 | 7000 | 149 | 160.4236 | 0.87583
9 | -168.285 | 37 | 7000 | 145 | 160.4236 | 1.6406
10 | -168.35 | 37 | 7000 | 168 | 160.4236 | 0.34168
11 | -168.405 | 37 | 7000 | 177 | 160.4236 | 1.5524
12 | -168.48 | 37 | 7000 | 166 | 160.4236 | 0.18733
13 | -168.54 | 38 | 7000 | 160 | 160.4236 | 0.0011215
14 | -168.61 | 37 | 7000 | 180 | 158.0066 | 2.6873
15 | -168.675 | 37 | 7000 | 154 | 148.6457 | 0.18616
16 | -168.74 | 36 | 7000 | 132 | 132.2369 | 0.00042529
17 | -168.8 | 37 | 7000 | 100 | 110.8348 | 1.1739
18 | -168.855 | 36 | 7000 | 95 | 90.5087 | 0.21234
19 | -168.93 | 36 | 7000 | 72 | 70.9072 | 0.016588
20 | -169 | 37 | 7000 | 68 | 61.0783 | 0.70457
21 | -169.065 | 36 | 7000 | 69 | 59.0615 | 1.4315
22 | -169.125 | 37 | 7000 | 75 | 59.0615 | 3.3871
23 | -169.19 | 37 | 7000 | 53 | 59.0615 | 0.69324
24 | -169.255 | 37 | 7000 | 72 | 59.0615 | 2.3251
25 | -169.325 | 36 | 7000 | 67 | 59.0615 | 0.9406
26 | -169.39 | 36 | 7000 | 51 | 59.0615 | 1.2743
27 | -169.45 | 37 | 7000 | 62 | 59.0615 | 0.13927
28 | -169.52 | 37 | 7000 | 62 | 59.0615 | 0.13927
29 | -169.58 | 37 | 7000 | 58 | 59.0615 | 0.019427
30 | -169.65 | 37 | 7000 | 53 | 59.0615 | 0.69324
31 | -169.71 | 37 | 7000 | 51 | 59.0615 | 1.2743
32 | -169.78 | 37 | 7000 | 56 | 59.0615 | 0.16737
33 | -169.845 | 36 | 7000 | 48 | 59.0615 | 2.5491
Run : 7 Seq 6 Rec 6 File L3A:980040 Date 30-DEC-2013 20:01:26.30
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-167.725 YPOS= -15.625 ZPOS= 102.065 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 90.3596 | -168.5823 | 0.35884 | 58.9471 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.72 | 37 | 7000 | 157 | 149.3067 | 0.37698 | 1.3119
2 | -167.8 | 37 | 7000 | 153 | 149.3067 | 0.089152
3 | -167.865 | 37 | 7000 | 165 | 149.3067 | 1.4926
4 | -167.925 | 37 | 7000 | 151 | 149.3067 | 0.018988
5 | -168 | 36 | 7000 | 160 | 149.3067 | 0.71466
6 | -168.065 | 38 | 7000 | 177 | 149.3067 | 4.3329
7 | -168.13 | 36 | 7000 | 149 | 149.3067 | 0.00063143
8 | -168.195 | 36 | 7000 | 135 | 149.3067 | 1.5162
9 | -168.26 | 38 | 7000 | 131 | 149.3067 | 2.5583
10 | -168.325 | 37 | 7000 | 145 | 149.3067 | 0.12792
11 | -168.39 | 36 | 7000 | 125 | 146.6614 | 3.7537
12 | -168.455 | 36 | 7000 | 144 | 138.0955 | 0.2421
13 | -168.515 | 36 | 7000 | 118 | 124.9256 | 0.40647
14 | -168.58 | 38 | 7000 | 120 | 104.9565 | 1.8859
15 | -168.65 | 37 | 7000 | 81 | 83.2448 | 0.06221
16 | -168.715 | 38 | 7000 | 67 | 69.2345 | 0.074522
17 | -168.775 | 37 | 7000 | 56 | 61.5649 | 0.55301
18 | -168.845 | 37 | 7000 | 61 | 58.9471 | 0.06909
19 | -168.91 | 37 | 7000 | 62 | 58.9471 | 0.15033
20 | -168.975 | 36 | 7000 | 70 | 58.9471 | 1.7452
21 | -169.04 | 37 | 7000 | 57 | 58.9471 | 0.066511
22 | -169.1 | 37 | 7000 | 64 | 58.9471 | 0.39894
23 | -169.17 | 37 | 7000 | 81 | 58.9471 | 6.0041
24 | -169.23 | 36 | 7000 | 57 | 58.9471 | 0.066511
25 | -169.3 | 37 | 7000 | 63 | 58.9471 | 0.26073
26 | -169.36 | 37 | 7000 | 44 | 58.9471 | 5.0776
27 | -169.425 | 37 | 7000 | 51 | 58.9471 | 1.2384
28 | -169.495 | 36 | 7000 | 56 | 58.9471 | 0.15509
29 | -169.555 | 37 | 7000 | 48 | 58.9471 | 2.4966
30 | -169.625 | 37 | 7000 | 62 | 58.9471 | 0.15033
31 | -169.685 | 37 | 7000 | 68 | 58.9471 | 1.2052
32 | -169.755 | 37 | 7000 | 66 | 58.9471 | 0.75369
33 | -169.82 | 37 | 7000 | 59 | 58.9471 | 4.7464e-05
Run : 8 Seq 7 Rec 7 File L3A:980040 Date 30-DEC-2013 20:22:52.21
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 3 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-169.235 YPOS= -15.710 ZPOS= 90.885 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 129.4337 | -170.2353 | 0.22004 | 182.3011 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -169.23 | 109 | 21000 | 290 | 311.7347 | 1.629 | 1.064
2 | -169.305 | 110 | 21000 | 303 | 311.7347 | 0.2518
3 | -169.375 | 110 | 21000 | 288 | 311.7347 | 1.956
4 | -169.44 | 111 | 21000 | 320 | 311.7347 | 0.21348
5 | -169.51 | 111 | 21000 | 338 | 311.7347 | 2.041
6 | -169.57 | 111 | 21000 | 341 | 311.7347 | 2.5116
7 | -169.635 | 111 | 21000 | 346 | 311.7347 | 3.3934
8 | -169.705 | 111 | 21000 | 308 | 311.7347 | 0.045287
9 | -169.77 | 111 | 21000 | 326 | 311.7347 | 0.62423
10 | -169.835 | 109 | 21000 | 321 | 311.7347 | 0.26743
11 | -169.9 | 111 | 21000 | 299 | 311.7347 | 0.54239
12 | -169.96 | 109 | 21000 | 294 | 311.7347 | 1.0698
13 | -170.03 | 111 | 21000 | 305 | 311.7347 | 0.14871
14 | -170.09 | 110 | 21000 | 300 | 311.4539 | 0.4373
15 | -170.15 | 112 | 21000 | 298 | 298.5414 | 0.00098361
16 | -170.22 | 109 | 21000 | 257 | 259.1491 | 0.017971
17 | -170.28 | 110 | 21000 | 223 | 215.1967 | 0.27306
18 | -170.35 | 111 | 21000 | 177 | 186.7791 | 0.54029
19 | -170.415 | 112 | 21000 | 187 | 182.3011 | 0.11808
20 | -170.485 | 111 | 21000 | 195 | 182.3011 | 0.82699
21 | -170.55 | 110 | 21000 | 182 | 182.3011 | 0.00049799
22 | -170.615 | 111 | 21000 | 183 | 182.3011 | 0.0026695
23 | -170.67 | 109 | 21000 | 166 | 182.3011 | 1.6007
24 | -170.74 | 111 | 21000 | 194 | 182.3011 | 0.70549
25 | -170.8 | 110 | 21000 | 184 | 182.3011 | 0.015687
26 | -170.87 | 110 | 21000 | 188 | 182.3011 | 0.17276
27 | -170.94 | 111 | 21000 | 179 | 182.3011 | 0.060877
28 | -171.005 | 110 | 21000 | 173 | 182.3011 | 0.50006
29 | -171.07 | 109 | 21000 | 188 | 182.3011 | 0.17276
30 | -171.135 | 111 | 21000 | 183 | 182.3011 | 0.0026695
31 | -171.195 | 109 | 21000 | 198 | 182.3011 | 1.2447
32 | -171.265 | 110 | 21000 | 205 | 182.3011 | 2.5134
33 | -171.33 | 111 | 21000 | 150 | 182.3011 | 6.9557
Run : 9 Seq 8 Rec 8 File L3A:980040 Date 30-DEC-2013 21:25:00.56
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-169.445 YPOS= -15.710 ZPOS= 81.955 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 108.0807 | -170.4245 | 0.5291 | 60.3991 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -169.435 | 37 | 7000 | 166 | 168.4798 | 0.037044 | 0.84469
2 | -169.515 | 37 | 7000 | 165 | 168.4798 | 0.073387
3 | -169.585 | 36 | 7000 | 163 | 168.4798 | 0.18422
4 | -169.65 | 37 | 7000 | 156 | 168.4798 | 0.99836
5 | -169.72 | 37 | 7000 | 200 | 168.4798 | 4.9676
6 | -169.785 | 36 | 7000 | 165 | 168.4798 | 0.073387
7 | -169.845 | 36 | 7000 | 172 | 168.4798 | 0.072047
8 | -169.915 | 36 | 7000 | 167 | 168.4798 | 0.013112
9 | -169.975 | 36 | 7000 | 178 | 168.4798 | 0.50918
10 | -170.035 | 37 | 7000 | 168 | 168.4798 | 0.0013701
11 | -170.105 | 36 | 7000 | 157 | 167.3258 | 0.67912
12 | -170.175 | 36 | 7000 | 181 | 162.479 | 1.8952
13 | -170.24 | 36 | 7000 | 135 | 154.5905 | 2.8429
14 | -170.305 | 37 | 7000 | 145 | 143.4397 | 0.016791
15 | -170.37 | 37 | 7000 | 136 | 129.0264 | 0.35758
16 | -170.43 | 38 | 7000 | 120 | 112.8501 | 0.42601
17 | -170.495 | 37 | 7000 | 92 | 95.9818 | 0.17234
18 | -170.555 | 37 | 7000 | 79 | 83.3067 | 0.23478
19 | -170.63 | 37 | 7000 | 75 | 71.3719 | 0.17551
20 | -170.695 | 37 | 7000 | 59 | 64.5417 | 0.52052
21 | -170.76 | 36 | 7000 | 70 | 60.9739 | 1.1639
22 | -170.825 | 37 | 7000 | 55 | 60.3991 | 0.53
23 | -170.89 | 37 | 7000 | 58 | 60.3991 | 0.099233
24 | -170.955 | 38 | 7000 | 51 | 60.3991 | 1.7322
25 | -171.02 | 36 | 7000 | 61 | 60.3991 | 0.00592
26 | -171.085 | 37 | 7000 | 65 | 60.3991 | 0.32567
27 | -171.14 | 37 | 7000 | 76 | 60.3991 | 3.2025
28 | -171.21 | 36 | 7000 | 57 | 60.3991 | 0.2027
29 | -171.28 | 36 | 7000 | 58 | 60.3991 | 0.099233
30 | -171.34 | 36 | 7000 | 52 | 60.3991 | 1.3566
31 | -171.41 | 36 | 7000 | 66 | 60.3991 | 0.47531
32 | -171.47 | 37 | 7000 | 64 | 60.3991 | 0.2026
33 | -171.53 | 37 | 7000 | 68 | 60.3991 | 0.84962
Run : 10 Seq 9 Rec 9 File L3A:980040 Date 30-DEC-2013 21:46:34.54
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-168.600 YPOS= -15.725 ZPOS= 71.845 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 104.1496 | -169.5558 | 0.38949 | 62.8161 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.6 | 36 | 7000 | 172 | 166.9657 | 0.14735 | 0.99999
2 | -168.665 | 37 | 7000 | 181 | 166.9657 | 1.0882
3 | -168.735 | 36 | 7000 | 186 | 166.9657 | 1.9479
4 | -168.805 | 37 | 7000 | 180 | 166.9657 | 0.94385
5 | -168.87 | 37 | 7000 | 180 | 166.9657 | 0.94385
6 | -168.94 | 36 | 7000 | 171 | 166.9657 | 0.095178
7 | -169.005 | 37 | 7000 | 147 | 166.9657 | 2.7118
8 | -169.065 | 38 | 7000 | 150 | 166.9657 | 1.9189
9 | -169.13 | 37 | 7000 | 166 | 166.9657 | 0.0056181
10 | -169.2 | 36 | 7000 | 157 | 166.9657 | 0.63258
11 | -169.26 | 37 | 7000 | 152 | 166.9657 | 1.4735
12 | -169.325 | 37 | 7000 | 165 | 165.5993 | 0.0021764
13 | -169.395 | 37 | 7000 | 174 | 157.9471 | 1.481
14 | -169.455 | 37 | 7000 | 143 | 146.033 | 0.06433
15 | -169.525 | 37 | 7000 | 122 | 125.8857 | 0.12376
16 | -169.585 | 37 | 7000 | 100 | 104.4326 | 0.19648
17 | -169.655 | 37 | 7000 | 89 | 84.1322 | 0.26624
18 | -169.72 | 37 | 7000 | 72 | 71.3064 | 0.0066825
19 | -169.78 | 36 | 7000 | 66 | 64.6162 | 0.029013
20 | -169.85 | 36 | 7000 | 49 | 62.8161 | 3.8956
21 | -169.915 | 37 | 7000 | 55 | 62.8161 | 1.1108
22 | -169.975 | 37 | 7000 | 66 | 62.8161 | 0.15359
23 | -170.035 | 36 | 7000 | 64 | 62.8161 | 0.0219
24 | -170.105 | 37 | 7000 | 70 | 62.8161 | 0.73726
25 | -170.175 | 36 | 7000 | 65 | 62.8161 | 0.073375
26 | -170.24 | 37 | 7000 | 68 | 62.8161 | 0.39519
27 | -170.305 | 36 | 7000 | 69 | 62.8161 | 0.55421
28 | -170.37 | 38 | 7000 | 73 | 62.8161 | 1.4207
29 | -170.425 | 37 | 7000 | 57 | 62.8161 | 0.59346
30 | -170.495 | 37 | 7000 | 61 | 62.8161 | 0.05407
31 | -170.555 | 36 | 7000 | 57 | 62.8161 | 0.59346
32 | -170.63 | 37 | 7000 | 56 | 62.8161 | 0.82963
33 | -170.695 | 36 | 7000 | 82 | 62.8161 | 4.4881
Run : 11 Seq 10 Rec 10 File L3A:980040 Date 30-DEC-2013 22:08:30.69
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-168.175 YPOS= -15.800 ZPOS= 60.780 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 96.5241 | -168.9367 | 0.41644 | 63.9773 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.18 | 37 | 7000 | 165 | 160.5014 | 0.12265 | 0.93225
2 | -168.25 | 37 | 7000 | 156 | 160.5014 | 0.12989
3 | -168.315 | 37 | 7000 | 154 | 160.5014 | 0.27447
4 | -168.385 | 37 | 7000 | 178 | 160.5014 | 1.7202
5 | -168.45 | 37 | 7000 | 163 | 160.5014 | 0.038302
6 | -168.51 | 36 | 7000 | 178 | 160.5014 | 1.7202
7 | -168.58 | 37 | 7000 | 150 | 160.5014 | 0.73519
8 | -168.645 | 38 | 7000 | 169 | 160.4971 | 0.42781
9 | -168.705 | 37 | 7000 | 145 | 158.3088 | 1.2215
10 | -168.775 | 35 | 7000 | 135 | 150.6908 | 1.8237
11 | -168.825 | 36 | 7000 | 132 | 141.9098 | 0.74397
12 | -168.9 | 37 | 7000 | 142 | 123.5204 | 2.4049
13 | -168.97 | 36 | 7000 | 113 | 101.9418 | 1.0822
14 | -169.03 | 37 | 7000 | 88 | 86.5019 | 0.025505
15 | -169.1 | 37 | 7000 | 66 | 73.5536 | 0.86449
16 | -169.16 | 37 | 7000 | 56 | 66.7964 | 2.0815
17 | -169.215 | 37 | 7000 | 68 | 64.1228 | 0.22107
18 | -169.29 | 37 | 7000 | 74 | 63.9773 | 1.3575
19 | -169.36 | 38 | 7000 | 60 | 63.9773 | 0.26365
20 | -169.42 | 37 | 7000 | 68 | 63.9773 | 0.23798
21 | -169.485 | 37 | 7000 | 79 | 63.9773 | 2.8567
22 | -169.555 | 37 | 7000 | 67 | 63.9773 | 0.13637
23 | -169.615 | 37 | 7000 | 71 | 63.9773 | 0.69463
24 | -169.68 | 37 | 7000 | 73 | 63.9773 | 1.1152
25 | -169.75 | 36 | 7000 | 55 | 63.9773 | 1.4653
26 | -169.81 | 37 | 7000 | 59 | 63.9773 | 0.41989
27 | -169.87 | 37 | 7000 | 66 | 63.9773 | 0.061991
28 | -169.94 | 37 | 7000 | 56 | 63.9773 | 1.1364
29 | -170.01 | 37 | 7000 | 70 | 63.9773 | 0.51819
30 | -170.06 | 38 | 7000 | 64 | 63.9773 | 8.069e-06
31 | -170.14 | 36 | 7000 | 65 | 63.9773 | 0.016092
32 | -170.205 | 37 | 7000 | 57 | 63.9773 | 0.85408
33 | -170.265 | 38 | 7000 | 60 | 63.9773 | 0.26365
Run : 12 Seq 11 Rec 11 File L3A:980040 Date 30-DEC-2013 22:30:01.68
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-167.410 YPOS= -15.800 ZPOS= 50.970 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 116.7186 | -168.2811 | 0.48396 | 58.9941 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.405 | 37 | 7000 | 204 | 175.7127 | 3.9224 | 1.2533
2 | -167.49 | 37 | 7000 | 175 | 175.7127 | 0.0029022
3 | -167.55 | 37 | 7000 | 163 | 175.7127 | 0.99148
4 | -167.62 | 37 | 7000 | 169 | 175.7127 | 0.26663
5 | -167.68 | 37 | 7000 | 172 | 175.7127 | 0.080139
6 | -167.74 | 37 | 7000 | 192 | 175.7127 | 1.3817
7 | -167.81 | 37 | 7000 | 185 | 175.7127 | 0.46624
8 | -167.87 | 36 | 7000 | 144 | 175.7127 | 6.984
9 | -167.945 | 36 | 7000 | 195 | 175.6942 | 1.9114
10 | -168.01 | 36 | 7000 | 186 | 173.1942 | 0.88166
11 | -168.06 | 36 | 7000 | 148 | 168.4056 | 2.8134
12 | -168.14 | 37 | 7000 | 157 | 155.5613 | 0.013184
13 | -168.205 | 36 | 7000 | 160 | 140.4285 | 2.394
14 | -168.27 | 37 | 7000 | 110 | 121.0847 | 1.117
15 | -168.335 | 37 | 7000 | 114 | 100.4233 | 1.6169
16 | -168.4 | 38 | 7000 | 76 | 83.8496 | 0.81074
17 | -168.465 | 37 | 7000 | 64 | 71.4868 | 0.87582
18 | -168.53 | 37 | 7000 | 74 | 63.335 | 1.5371
19 | -168.59 | 37 | 7000 | 67 | 59.5477 | 0.8289
20 | -168.66 | 37 | 7000 | 59 | 58.9941 | 5.9227e-07
21 | -168.725 | 38 | 7000 | 54 | 58.9941 | 0.46187
22 | -168.79 | 36 | 7000 | 62 | 58.9941 | 0.14573
23 | -168.85 | 37 | 7000 | 52 | 58.9941 | 0.94072
24 | -168.92 | 37 | 7000 | 59 | 58.9941 | 5.9227e-07
25 | -168.98 | 36 | 7000 | 52 | 58.9941 | 0.94072
26 | -169.05 | 36 | 7000 | 68 | 58.9941 | 1.1927
27 | -169.11 | 36 | 7000 | 54 | 58.9941 | 0.46187
28 | -169.18 | 38 | 7000 | 54 | 58.9941 | 0.46187
29 | -169.24 | 36 | 7000 | 61 | 58.9941 | 0.065962
30 | -169.295 | 37 | 7000 | 64 | 58.9941 | 0.39155
31 | -169.37 | 36 | 7000 | 61 | 58.9941 | 0.065962
32 | -169.435 | 37 | 7000 | 71 | 58.9941 | 2.0302
33 | -169.5 | 36 | 7000 | 55 | 58.9941 | 0.29005
Run : 13 Seq 1 Rec 1 File L3A:980040 Date 31-DEC-2013 10:32:25.38
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-169.040 YPOS= -15.540 ZPOS= 150.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 127.7296 | -170.0627 | 0.50703 | 61.7678 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -169.03 | 37 | 7000 | 175 | 189.4973 | 1.201 | 1.4657
2 | -169.11 | 36 | 7000 | 181 | 189.4973 | 0.39892
3 | -169.175 | 37 | 7000 | 180 | 189.4973 | 0.50111
4 | -169.24 | 37 | 7000 | 174 | 189.4973 | 1.3803
5 | -169.31 | 37 | 7000 | 191 | 189.4973 | 0.011822
6 | -169.375 | 37 | 7000 | 154 | 189.4973 | 8.1822
7 | -169.43 | 37 | 7000 | 205 | 189.4973 | 1.1724
8 | -169.505 | 37 | 7000 | 187 | 189.4973 | 0.033351
9 | -169.56 | 37 | 7000 | 232 | 189.4973 | 7.7865
10 | -169.635 | 37 | 7000 | 202 | 189.4973 | 0.77384
11 | -169.69 | 37 | 7000 | 200 | 189.4973 | 0.55153
12 | -169.755 | 37 | 7000 | 192 | 188.2119 | 0.074738
13 | -169.835 | 36 | 7000 | 221 | 180.9885 | 7.244
14 | -169.9 | 36 | 7000 | 175 | 170.4367 | 0.11899
15 | -169.96 | 36 | 7000 | 157 | 156.9702 | 5.6729e-06
16 | -170.03 | 36 | 7000 | 124 | 136.7378 | 1.3085
17 | -170.09 | 37 | 7000 | 110 | 116.2632 | 0.35661
18 | -170.15 | 36 | 7000 | 96 | 98.306 | 0.055393
19 | -170.22 | 37 | 7000 | 82 | 81.8774 | 0.00018338
20 | -170.28 | 37 | 7000 | 88 | 71.6711 | 3.0299
21 | -170.35 | 37 | 7000 | 65 | 64.2852 | 0.0078604
22 | -170.41 | 36 | 7000 | 72 | 61.8299 | 1.4365
23 | -170.48 | 36 | 7000 | 67 | 61.7678 | 0.4086
24 | -170.54 | 36 | 7000 | 53 | 61.7678 | 1.4504
25 | -170.615 | 37 | 7000 | 61 | 61.7678 | 0.0096632
26 | -170.675 | 37 | 7000 | 61 | 61.7678 | 0.0096632
27 | -170.73 | 36 | 7000 | 69 | 61.7678 | 0.75805
28 | -170.795 | 36 | 7000 | 68 | 61.7678 | 0.57119
29 | -170.875 | 37 | 7000 | 62 | 61.7678 | 0.00086993
30 | -170.925 | 36 | 7000 | 56 | 61.7678 | 0.59405
31 | -170.99 | 36 | 7000 | 55 | 61.7678 | 0.83277
32 | -171.055 | 36 | 7000 | 52 | 61.7678 | 1.8348
33 | -171.13 | 36 | 7000 | 67 | 61.7678 | 0.4086
Run : 14 Seq 2 Rec 2 File L3A:980040 Date 31-DEC-2013 10:53:50.60
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-168.650 YPOS= -15.580 ZPOS= 141.605 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 128.8591 | -169.6143 | 0.35047 | 61.5437 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.645 | 36 | 7000 | 170 | 190.4028 | 2.4487 | 1.4424
2 | -168.72 | 37 | 7000 | 200 | 190.4028 | 0.46053
3 | -168.79 | 37 | 7000 | 185 | 190.4028 | 0.15778
4 | -168.855 | 37 | 7000 | 192 | 190.4028 | 0.013287
5 | -168.91 | 36 | 7000 | 198 | 190.4028 | 0.2915
6 | -168.975 | 37 | 7000 | 176 | 190.4028 | 1.1786
7 | -169.05 | 36 | 7000 | 205 | 190.4028 | 1.0394
8 | -169.115 | 36 | 7000 | 177 | 190.4028 | 1.0149
9 | -169.17 | 37 | 7000 | 190 | 190.4028 | 0.00085383
10 | -169.245 | 37 | 7000 | 196 | 190.4028 | 0.15984
11 | -169.3 | 37 | 7000 | 206 | 190.4028 | 1.1809
12 | -169.375 | 36 | 7000 | 209 | 190.3266 | 1.6684
13 | -169.43 | 36 | 7000 | 180 | 186.1699 | 0.21148
14 | -169.505 | 36 | 7000 | 169 | 170.2728 | 0.0095858
15 | -169.57 | 37 | 7000 | 133 | 146.9485 | 1.4629
16 | -169.64 | 37 | 7000 | 141 | 113.302 | 5.441
17 | -169.69 | 36 | 7000 | 87 | 92.6225 | 0.36336
18 | -169.765 | 37 | 7000 | 68 | 71.4385 | 0.17387
19 | -169.825 | 37 | 7000 | 57 | 62.989 | 0.62927
20 | -169.895 | 37 | 7000 | 70 | 61.5437 | 1.0216
21 | -169.95 | 36 | 7000 | 58 | 61.5437 | 0.21652
22 | -170.025 | 36 | 7000 | 66 | 61.5437 | 0.30089
23 | -170.085 | 37 | 7000 | 56 | 61.5437 | 0.5488
24 | -170.155 | 37 | 7000 | 64 | 61.5437 | 0.09427
25 | -170.21 | 37 | 7000 | 61 | 61.5437 | 0.0048464
26 | -170.285 | 36 | 7000 | 83 | 61.5437 | 5.5466
27 | -170.34 | 36 | 7000 | 73 | 61.5437 | 1.7979
28 | -170.415 | 36 | 7000 | 58 | 61.5437 | 0.21652
29 | -170.475 | 37 | 7000 | 79 | 61.5437 | 3.8572
30 | -170.545 | 37 | 7000 | 70 | 61.5437 | 1.0216
31 | -170.605 | 37 | 7000 | 49 | 61.5437 | 3.2111
32 | -170.67 | 36 | 7000 | 61 | 61.5437 | 0.0048464
33 | -170.745 | 36 | 7000 | 45 | 61.5437 | 6.0821
Run : 15 Seq 3 Rec 3 File L3A:980040 Date 31-DEC-2013 11:15:41.75
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-168.780 YPOS= -15.580 ZPOS= 131.320 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 120.6527 | -169.7708 | 0.32659 | 63.0583 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.785 | 36 | 7000 | 171 | 183.711 | 0.94485 | 1.1196
2 | -168.85 | 37 | 7000 | 194 | 183.711 | 0.54569
3 | -168.915 | 36 | 7000 | 164 | 183.711 | 2.369
4 | -168.98 | 37 | 7000 | 177 | 183.711 | 0.25445
5 | -169.05 | 36 | 7000 | 182 | 183.711 | 0.016085
6 | -169.115 | 37 | 7000 | 191 | 183.711 | 0.27817
7 | -169.17 | 37 | 7000 | 193 | 183.711 | 0.44708
8 | -169.245 | 36 | 7000 | 198 | 183.711 | 1.0312
9 | -169.31 | 37 | 7000 | 178 | 183.711 | 0.18323
10 | -169.38 | 36 | 7000 | 172 | 183.711 | 0.79736
11 | -169.44 | 36 | 7000 | 166 | 183.711 | 1.8896
12 | -169.495 | 36 | 7000 | 211 | 183.711 | 3.5293
13 | -169.57 | 37 | 7000 | 202 | 182.6835 | 1.8472
14 | -169.64 | 36 | 7000 | 183 | 172.3678 | 0.61773
15 | -169.705 | 37 | 7000 | 149 | 152.8625 | 0.10013
16 | -169.77 | 37 | 7000 | 114 | 123.7985 | 0.84219
17 | -169.825 | 36 | 7000 | 104 | 98.3876 | 0.30287
18 | -169.895 | 36 | 7000 | 83 | 75.9428 | 0.60004
19 | -169.95 | 36 | 7000 | 62 | 66.0847 | 0.26911
20 | -170.03 | 37 | 7000 | 76 | 63.0583 | 2.2038
21 | -170.09 | 36 | 7000 | 69 | 63.0583 | 0.51165
22 | -170.15 | 37 | 7000 | 55 | 63.0583 | 1.1807
23 | -170.22 | 37 | 7000 | 71 | 63.0583 | 0.88832
24 | -170.275 | 36 | 7000 | 64 | 63.0583 | 0.013856
25 | -170.345 | 36 | 7000 | 51 | 63.0583 | 2.851
26 | -170.415 | 37 | 7000 | 56 | 63.0583 | 0.88964
27 | -170.48 | 37 | 7000 | 60 | 63.0583 | 0.15589
28 | -170.545 | 36 | 7000 | 62 | 63.0583 | 0.018065
29 | -170.605 | 37 | 7000 | 82 | 63.0583 | 4.3755
30 | -170.67 | 36 | 7000 | 67 | 63.0583 | 0.23189
31 | -170.745 | 36 | 7000 | 53 | 63.0583 | 1.9089
32 | -170.795 | 37 | 7000 | 68 | 63.0583 | 0.35912
33 | -170.875 | 36 | 7000 | 64 | 63.0583 | 0.013856
Run : 16 Seq 4 Rec 4 File L3A:980040 Date 31-DEC-2013 11:37:05.65
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-167.715 YPOS= -15.620 ZPOS= 120.440 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 118.6481 | -168.5964 | 0.39803 | 59.2088 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.71 | 37 | 7000 | 179 | 177.8569 | 0.0072995 | 2.1145
2 | -167.79 | 37 | 7000 | 149 | 177.8569 | 5.5887
3 | -167.86 | 37 | 7000 | 152 | 177.8569 | 4.3986
4 | -167.925 | 36 | 7000 | 184 | 177.8569 | 0.20509
5 | -167.975 | 36 | 7000 | 187 | 177.8569 | 0.44704
6 | -168.04 | 37 | 7000 | 189 | 177.8569 | 0.65697
7 | -168.105 | 37 | 7000 | 174 | 177.8569 | 0.085494
8 | -168.17 | 37 | 7000 | 182 | 177.8569 | 0.094313
9 | -168.25 | 36 | 7000 | 187 | 177.8569 | 0.44704
10 | -168.315 | 37 | 7000 | 181 | 177.8569 | 0.054579
11 | -168.365 | 37 | 7000 | 219 | 175.9847 | 8.4489
12 | -168.435 | 37 | 7000 | 167 | 167.0726 | 3.1519e-05
13 | -168.505 | 36 | 7000 | 150 | 150.8209 | 0.0044929
14 | -168.565 | 37 | 7000 | 120 | 131.0494 | 1.0174
15 | -168.635 | 36 | 7000 | 104 | 103.3936 | 0.0035364
16 | -168.705 | 37 | 7000 | 86 | 81.5959 | 0.22553
17 | -168.765 | 37 | 7000 | 74 | 68.7539 | 0.37191
18 | -168.825 | 37 | 7000 | 57 | 61.3042 | 0.32501
19 | -168.9 | 37 | 7000 | 85 | 59.2088 | 7.8257
20 | -168.96 | 37 | 7000 | 65 | 59.2088 | 0.51596
21 | -169.03 | 37 | 7000 | 73 | 59.2088 | 2.6054
22 | -169.09 | 37 | 7000 | 66 | 59.2088 | 0.69878
23 | -169.145 | 36 | 7000 | 55 | 59.2088 | 0.32208
24 | -169.22 | 37 | 7000 | 65 | 59.2088 | 0.51596
25 | -169.29 | 36 | 7000 | 68 | 59.2088 | 1.1365
26 | -169.345 | 37 | 7000 | 64 | 59.2088 | 0.35867
27 | -169.42 | 37 | 7000 | 43 | 59.2088 | 6.1099
28 | -169.485 | 36 | 7000 | 70 | 59.2088 | 1.6636
29 | -169.545 | 37 | 7000 | 81 | 59.2088 | 5.8624
30 | -169.6 | 37 | 7000 | 44 | 59.2088 | 5.257
31 | -169.665 | 37 | 7000 | 48 | 59.2088 | 2.6175
32 | -169.74 | 37 | 7000 | 51 | 59.2088 | 1.3213
33 | -169.805 | 36 | 7000 | 49 | 59.2088 | 2.1269
Run : 17 Seq 5 Rec 5 File L3A:980040 Date 31-DEC-2013 11:58:32.66
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-167.750 YPOS= -15.625 ZPOS= 111.030 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 112.0445 | -168.7869 | 0.21602 | 61.3468 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.745 | 36 | 7000 | 173 | 173.3913 | 0.00088514 | 1.0411
2 | -167.83 | 36 | 7000 | 159 | 173.3913 | 1.3026
3 | -167.89 | 37 | 7000 | 190 | 173.3913 | 1.4518
4 | -167.95 | 36 | 7000 | 181 | 173.3913 | 0.31985
5 | -168.02 | 37 | 7000 | 169 | 173.3913 | 0.1141
6 | -168.08 | 36 | 7000 | 186 | 173.3913 | 0.85473
7 | -168.15 | 36 | 7000 | 178 | 173.3913 | 0.11933
8 | -168.21 | 36 | 7000 | 187 | 173.3913 | 0.99035
9 | -168.28 | 36 | 7000 | 160 | 173.3913 | 1.1208
10 | -168.34 | 36 | 7000 | 154 | 173.3913 | 2.4417
11 | -168.41 | 36 | 7000 | 146 | 173.3913 | 5.1389
12 | -168.47 | 37 | 7000 | 182 | 173.3913 | 0.40719
13 | -168.545 | 36 | 7000 | 178 | 173.3913 | 0.11933
14 | -168.61 | 37 | 7000 | 199 | 173.3913 | 3.2955
15 | -168.67 | 37 | 7000 | 182 | 170.3103 | 0.75081
16 | -168.74 | 36 | 7000 | 133 | 146.5038 | 1.3711
17 | -168.79 | 37 | 7000 | 124 | 115.1381 | 0.63333
18 | -168.865 | 37 | 7000 | 74 | 74.7366 | 0.0073326
19 | -168.925 | 36 | 7000 | 56 | 61.864 | 0.61404
20 | -169 | 37 | 7000 | 70 | 61.3468 | 1.0697
21 | -169.06 | 37 | 7000 | 52 | 61.3468 | 1.68
22 | -169.125 | 37 | 7000 | 54 | 61.3468 | 0.99954
23 | -169.18 | 36 | 7000 | 68 | 61.3468 | 0.65096
24 | -169.255 | 36 | 7000 | 62 | 61.3468 | 0.0068823
25 | -169.31 | 37 | 7000 | 71 | 61.3468 | 1.3125
26 | -169.385 | 37 | 7000 | 63 | 61.3468 | 0.043383
27 | -169.455 | 37 | 7000 | 69 | 61.3468 | 0.84887
28 | -169.515 | 37 | 7000 | 68 | 61.3468 | 0.65096
29 | -169.585 | 37 | 7000 | 55 | 61.3468 | 0.73239
30 | -169.64 | 37 | 7000 | 57 | 61.3468 | 0.33148
31 | -169.715 | 36 | 7000 | 61 | 61.3468 | 0.0019714
32 | -169.78 | 36 | 7000 | 67 | 61.3468 | 0.477
33 | -169.845 | 36 | 7000 | 57 | 61.3468 | 0.33148
Run : 18 Seq 6 Rec 6 File L3A:980040 Date 31-DEC-2013 12:20:08.46
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-167.725 YPOS= -15.625 ZPOS= 102.065 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 108.5907 | -168.6181 | 0.30739 | 58.4352 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.72 | 36 | 7000 | 161 | 167.0259 | 0.22554 | 1.1797
2 | -167.8 | 37 | 7000 | 161 | 167.0259 | 0.22554
3 | -167.86 | 37 | 7000 | 164 | 167.0259 | 0.05583
4 | -167.93 | 37 | 7000 | 171 | 167.0259 | 0.092359
5 | -168 | 36 | 7000 | 150 | 167.0259 | 1.9325
6 | -168.06 | 37 | 7000 | 146 | 167.0259 | 3.028
7 | -168.125 | 36 | 7000 | 159 | 167.0259 | 0.40513
8 | -168.19 | 36 | 7000 | 162 | 167.0259 | 0.15592
9 | -168.255 | 36 | 7000 | 168 | 167.0259 | 0.0056479
10 | -168.32 | 37 | 7000 | 202 | 167.0259 | 6.0554
11 | -168.39 | 37 | 7000 | 200 | 167.0259 | 5.4365
12 | -168.455 | 36 | 7000 | 171 | 163.6394 | 0.31683
13 | -168.52 | 37 | 7000 | 169 | 150.6739 | 1.9873
14 | -168.585 | 37 | 7000 | 116 | 127.9975 | 1.2409
15 | -168.645 | 36 | 7000 | 99 | 100.1125 | 0.0125
16 | -168.715 | 36 | 7000 | 74 | 75.1043 | 0.016479
17 | -168.78 | 36 | 7000 | 72 | 61.9668 | 1.3981
18 | -168.84 | 36 | 7000 | 60 | 58.4352 | 0.040811
19 | -168.91 | 36 | 7000 | 73 | 58.4352 | 2.9059
20 | -168.975 | 37 | 7000 | 69 | 58.4352 | 1.6176
21 | -169.035 | 37 | 7000 | 51 | 58.4352 | 1.084
22 | -169.105 | 37 | 7000 | 57 | 58.4352 | 0.036136
23 | -169.165 | 37 | 7000 | 53 | 58.4352 | 0.55738
24 | -169.23 | 37 | 7000 | 51 | 58.4352 | 1.084
25 | -169.3 | 36 | 7000 | 64 | 58.4352 | 0.48386
26 | -169.36 | 36 | 7000 | 50 | 58.4352 | 1.423
27 | -169.43 | 36 | 7000 | 64 | 58.4352 | 0.48386
28 | -169.49 | 36 | 7000 | 54 | 58.4352 | 0.36427
29 | -169.56 | 37 | 7000 | 63 | 58.4352 | 0.33076
30 | -169.625 | 37 | 7000 | 63 | 58.4352 | 0.33076
31 | -169.69 | 37 | 7000 | 53 | 58.4352 | 0.55738
32 | -169.755 | 36 | 7000 | 61 | 58.4352 | 0.10784
33 | -169.82 | 36 | 7000 | 55 | 58.4352 | 0.21455
Run : 19 Seq 7 Rec 7 File L3A:980040 Date 31-DEC-2013 12:41:44.21
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 3 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-169.235 YPOS= -15.710 ZPOS= 90.885 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 120.5881 | -170.2651 | 0.29256 | 178.2971 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -169.23 | 109 | 21000 | 250 | 298.8852 | 9.5591 | 1.7602
2 | -169.305 | 110 | 21000 | 262 | 298.8852 | 5.1928
3 | -169.375 | 110 | 21000 | 306 | 298.8852 | 0.16542
4 | -169.445 | 110 | 21000 | 277 | 298.8852 | 1.7291
5 | -169.505 | 110 | 21000 | 308 | 298.8852 | 0.26974
6 | -169.57 | 109 | 21000 | 283 | 298.8852 | 0.89166
7 | -169.64 | 110 | 21000 | 313 | 298.8852 | 0.63651
8 | -169.705 | 109 | 21000 | 278 | 298.8852 | 1.569
9 | -169.77 | 109 | 21000 | 318 | 298.8852 | 1.149
10 | -169.835 | 110 | 21000 | 319 | 298.8852 | 1.2684
11 | -169.9 | 110 | 21000 | 332 | 298.8852 | 3.303
12 | -169.965 | 108 | 21000 | 337 | 298.8852 | 4.3108
13 | -170.03 | 109 | 21000 | 314 | 298.8852 | 0.72757
14 | -170.09 | 110 | 21000 | 322 | 297.459 | 1.8704
15 | -170.16 | 111 | 21000 | 286 | 284.2796 | 0.010349
16 | -170.225 | 109 | 21000 | 256 | 259.6783 | 0.052851
17 | -170.28 | 111 | 21000 | 227 | 230.1926 | 0.044902
18 | -170.34 | 109 | 21000 | 200 | 202.8167 | 0.039668
19 | -170.415 | 110 | 21000 | 196 | 182.862 | 0.88065
20 | -170.49 | 110 | 21000 | 162 | 178.2971 | 1.6395
21 | -170.545 | 110 | 21000 | 207 | 178.2971 | 3.98
22 | -170.615 | 110 | 21000 | 178 | 178.2971 | 0.00049598
23 | -170.68 | 110 | 21000 | 177 | 178.2971 | 0.0095059
24 | -170.745 | 110 | 21000 | 177 | 178.2971 | 0.0095059
25 | -170.81 | 109 | 21000 | 154 | 178.2971 | 3.8334
26 | -170.875 | 109 | 21000 | 204 | 178.2971 | 3.2384
27 | -170.94 | 111 | 21000 | 180 | 178.2971 | 0.01611
28 | -171.005 | 110 | 21000 | 199 | 178.2971 | 2.1538
29 | -171.065 | 109 | 21000 | 165 | 178.2971 | 1.0716
30 | -171.125 | 110 | 21000 | 185 | 178.2971 | 0.24286
31 | -171.2 | 110 | 21000 | 165 | 178.2971 | 1.0716
32 | -171.265 | 110 | 21000 | 174 | 178.2971 | 0.10612
33 | -171.325 | 110 | 21000 | 179 | 178.2971 | 0.0027599
Run : 20 Seq 8 Rec 8 File L3A:980040 Date 31-DEC-2013 13:43:21.90
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-169.445 YPOS= -15.710 ZPOS= 81.955 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | XPOS | TIME | MON= DB | SIG= IC
1 | -169.44 | 36 | 7000 | 154
2 | -169.51 | 36 | 7000 | 145
3 | -169.58 | 37 | 7000 | 164
4 | -169.65 | 37 | 7000 | 185
5 | -169.72 | 37 | 7000 | 134
6 | -169.78 | 37 | 7000 | 138
7 | -169.85 | 36 | 7000 | 132
8 | -169.915 | 37 | 7000 | 159
Run : 21 Seq 8 Rec 8 File L3A:980040 Date 31-DEC-2013 13:49:17.61
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-169.445 YPOS= -15.710 ZPOS= 81.955 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 98.4255 | -170.4689 | 0.27328 | 58.3306 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -169.445 | 37 | 7000 | 163 | 156.7561 | 0.23918 | 0.68639
2 | -169.515 | 37 | 7000 | 157 | 156.7561 | 0.00037889
3 | -169.58 | 36 | 7000 | 156 | 156.7561 | 0.0036647
4 | -169.645 | 37 | 7000 | 160 | 156.7561 | 0.065768
5 | -169.72 | 36 | 7000 | 151 | 156.7561 | 0.21942
6 | -169.78 | 36 | 7000 | 166 | 156.7561 | 0.51476
7 | -169.85 | 36 | 7000 | 141 | 156.7561 | 1.7607
8 | -169.915 | 36 | 7000 | 156 | 156.7561 | 0.0036647
9 | -169.975 | 37 | 7000 | 147 | 156.7561 | 0.64749
10 | -170.045 | 36 | 7000 | 159 | 156.7561 | 0.031667
11 | -170.11 | 35 | 7000 | 160 | 156.7561 | 0.065768
12 | -170.175 | 36 | 7000 | 153 | 156.7561 | 0.092211
13 | -170.24 | 37 | 7000 | 180 | 156.7561 | 3.0015
14 | -170.305 | 37 | 7000 | 155 | 155.6193 | 0.0024746
15 | -170.37 | 37 | 7000 | 138 | 145.0193 | 0.35703
16 | -170.435 | 36 | 7000 | 124 | 123.2828 | 0.0041483
17 | -170.5 | 36 | 7000 | 98 | 92.9643 | 0.25876
18 | -170.57 | 36 | 7000 | 70 | 69.5117 | 0.003406
19 | -170.625 | 36 | 7000 | 53 | 60.1454 | 0.96333
20 | -170.69 | 37 | 7000 | 60 | 58.3306 | 0.046449
21 | -170.76 | 37 | 7000 | 60 | 58.3306 | 0.046449
22 | -170.825 | 36 | 7000 | 70 | 58.3306 | 1.9454
23 | -170.885 | 36 | 7000 | 48 | 58.3306 | 2.2234
24 | -170.945 | 37 | 7000 | 71 | 58.3306 | 2.2608
25 | -171.015 | 37 | 7000 | 58 | 58.3306 | 0.0018844
26 | -171.085 | 37 | 7000 | 60 | 58.3306 | 0.046449
27 | -171.15 | 37 | 7000 | 49 | 58.3306 | 1.7767
28 | -171.215 | 36 | 7000 | 63 | 58.3306 | 0.34608
29 | -171.275 | 37 | 7000 | 56 | 58.3306 | 0.096994
30 | -171.345 | 36 | 7000 | 53 | 58.3306 | 0.53614
31 | -171.41 | 36 | 7000 | 54 | 58.3306 | 0.3473
32 | -171.475 | 36 | 7000 | 63 | 58.3306 | 0.34608
33 | -171.54 | 37 | 7000 | 69 | 58.3306 | 1.6498
Run : 22 Seq 9 Rec 9 File L3A:980040 Date 31-DEC-2013 14:10:37.01
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-168.600 YPOS= -15.725 ZPOS= 71.845 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 108.1197 | -169.4962 | 0.32604 | 60.4724 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.605 | 36 | 7000 | 187 | 168.5921 | 1.812 | 1.4498
2 | -168.67 | 36 | 7000 | 166 | 168.5921 | 0.040476
3 | -168.74 | 37 | 7000 | 161 | 168.5921 | 0.35801
4 | -168.805 | 37 | 7000 | 192 | 168.5921 | 2.8538
5 | -168.875 | 36 | 7000 | 153 | 168.5921 | 1.589
6 | -168.935 | 37 | 7000 | 168 | 168.5921 | 0.0020868
7 | -169.005 | 36 | 7000 | 173 | 168.5921 | 0.11231
8 | -169.065 | 37 | 7000 | 174 | 168.5921 | 0.16808
9 | -169.135 | 36 | 7000 | 187 | 168.5921 | 1.812
10 | -169.195 | 36 | 7000 | 141 | 168.5921 | 5.3995
11 | -169.265 | 36 | 7000 | 167 | 168.5921 | 0.015178
12 | -169.325 | 36 | 7000 | 172 | 165.0131 | 0.28382
13 | -169.395 | 36 | 7000 | 147 | 151.5823 | 0.14284
14 | -169.46 | 36 | 7000 | 117 | 130.1856 | 1.486
15 | -169.52 | 36 | 7000 | 132 | 103.9564 | 5.9579
16 | -169.59 | 36 | 7000 | 69 | 79.4974 | 1.5971
17 | -169.65 | 37 | 7000 | 66 | 66.4662 | 0.0032935
18 | -169.72 | 37 | 7000 | 70 | 60.519 | 1.2841
19 | -169.785 | 37 | 7000 | 69 | 60.4724 | 1.0539
20 | -169.85 | 36 | 7000 | 65 | 60.4724 | 0.31537
21 | -169.915 | 36 | 7000 | 43 | 60.4724 | 7.0997
22 | -169.975 | 36 | 7000 | 68 | 60.4724 | 0.8333
23 | -170.045 | 37 | 7000 | 58 | 60.4724 | 0.10539
24 | -170.11 | 35 | 7000 | 53 | 60.4724 | 1.0535
25 | -170.175 | 37 | 7000 | 56 | 60.4724 | 0.35719
26 | -170.24 | 37 | 7000 | 66 | 60.4724 | 0.46294
27 | -170.305 | 37 | 7000 | 59 | 60.4724 | 0.036746
28 | -170.37 | 36 | 7000 | 69 | 60.4724 | 1.0539
29 | -170.435 | 36 | 7000 | 56 | 60.4724 | 0.35719
30 | -170.5 | 37 | 7000 | 74 | 60.4724 | 2.4729
31 | -170.57 | 37 | 7000 | 68 | 60.4724 | 0.8333
32 | -170.635 | 36 | 7000 | 53 | 60.4724 | 1.0535
33 | -170.69 | 36 | 7000 | 62 | 60.4724 | 0.037637
Run : 23 Seq 10 Rec 10 File L3A:980040 Date 31-DEC-2013 14:31:55.35
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-168.175 YPOS= -15.800 ZPOS= 60.780 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 123.8572 | -168.9581 | 0.44167 | 59.9051 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.17 | 36 | 7000 | 191 | 183.7623 | 0.27426 | 0.86237
2 | -168.25 | 37 | 7000 | 172 | 183.7623 | 0.80437
3 | -168.32 | 36 | 7000 | 173 | 183.7623 | 0.66952
4 | -168.38 | 37 | 7000 | 174 | 183.7623 | 0.54771
5 | -168.44 | 36 | 7000 | 189 | 183.7623 | 0.14515
6 | -168.51 | 37 | 7000 | 187 | 183.7623 | 0.056058
7 | -168.575 | 36 | 7000 | 217 | 183.7623 | 5.091
8 | -168.635 | 37 | 7000 | 182 | 183.7623 | 0.017064
9 | -168.705 | 37 | 7000 | 174 | 181.5386 | 0.32661
10 | -168.775 | 36 | 7000 | 164 | 173.167 | 0.5124
11 | -168.835 | 37 | 7000 | 169 | 161.0389 | 0.37503
12 | -168.905 | 37 | 7000 | 150 | 141.1115 | 0.5267
13 | -168.965 | 37 | 7000 | 115 | 119.1384 | 0.14892
14 | -169.035 | 37 | 7000 | 90 | 95.0993 | 0.28892
15 | -169.095 | 36 | 7000 | 83 | 79.4468 | 0.15211
16 | -169.16 | 36 | 7000 | 73 | 67.6487 | 0.39228
17 | -169.225 | 37 | 7000 | 54 | 61.2158 | 0.96422
18 | -169.295 | 37 | 7000 | 66 | 59.9051 | 0.56285
19 | -169.355 | 36 | 7000 | 66 | 59.9051 | 0.56285
20 | -169.42 | 36 | 7000 | 56 | 59.9051 | 0.27231
21 | -169.485 | 36 | 7000 | 51 | 59.9051 | 1.5549
22 | -169.55 | 37 | 7000 | 74 | 59.9051 | 2.6847
23 | -169.61 | 37 | 7000 | 60 | 59.9051 | 0.00015023
24 | -169.67 | 37 | 7000 | 61 | 59.9051 | 0.019654
25 | -169.745 | 36 | 7000 | 62 | 59.9051 | 0.070787
26 | -169.81 | 37 | 7000 | 63 | 59.9051 | 0.15204
27 | -169.885 | 37 | 7000 | 63 | 59.9051 | 0.15204
28 | -169.945 | 37 | 7000 | 64 | 59.9051 | 0.26201
29 | -170.01 | 37 | 7000 | 54 | 59.9051 | 0.64574
30 | -170.07 | 36 | 7000 | 46 | 59.9051 | 4.2033
31 | -170.14 | 38 | 7000 | 68 | 59.9051 | 0.96365
32 | -170.205 | 37 | 7000 | 54 | 59.9051 | 0.64574
33 | -170.27 | 37 | 7000 | 68 | 59.9051 | 0.96365
Run : 24 Seq 11 Rec 11 File L3A:980040 Date 31-DEC-2013 14:53:32.57
Mode: MW_ANGLE Npts 33 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI=-135.000 PHI= -90.200 DSRD= 12.500
Drv : XPOS=-167.410 YPOS= -15.800 ZPOS= 50.970 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 137.6328 | -168.2846 | 0.30342 | 59.1045 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.405 | 37 | 7000 | 193 | 196.7373 | 0.072369 | 1.6531
2 | -167.485 | 36 | 7000 | 203 | 196.7373 | 0.19321
3 | -167.545 | 36 | 7000 | 170 | 196.7373 | 4.2052
4 | -167.615 | 36 | 7000 | 195 | 196.7373 | 0.015478
5 | -167.675 | 35 | 7000 | 167 | 196.7373 | 5.2952
6 | -167.745 | 36 | 7000 | 202 | 196.7373 | 0.13711
7 | -167.815 | 37 | 7000 | 206 | 196.7373 | 0.41649
8 | -167.88 | 37 | 7000 | 229 | 196.7373 | 4.5453
9 | -167.95 | 37 | 7000 | 206 | 196.7373 | 0.41649
10 | -168.005 | 36 | 7000 | 220 | 196.7373 | 2.4598
11 | -168.065 | 37 | 7000 | 202 | 196.7373 | 0.13711
12 | -168.14 | 37 | 7000 | 175 | 189.4249 | 1.189
13 | -168.205 | 37 | 7000 | 170 | 169.5162 | 0.0013767
14 | -168.27 | 37 | 7000 | 136 | 136.9749 | 0.0069883
15 | -168.33 | 36 | 7000 | 117 | 101.884 | 1.9529
16 | -168.395 | 36 | 7000 | 67 | 75.3242 | 1.0342
17 | -168.455 | 37 | 7000 | 59 | 62.0199 | 0.15458
18 | -168.525 | 37 | 7000 | 76 | 59.1045 | 3.756
19 | -168.595 | 36 | 7000 | 58 | 59.1045 | 0.021033
20 | -168.66 | 37 | 7000 | 69 | 59.1045 | 1.4191
21 | -168.725 | 36 | 7000 | 70 | 59.1045 | 1.6959
22 | -168.79 | 36 | 7000 | 55 | 59.1045 | 0.30631
23 | -168.855 | 36 | 7000 | 58 | 59.1045 | 0.021033
24 | -168.91 | 37 | 7000 | 74 | 59.1045 | 2.9983
25 | -168.985 | 37 | 7000 | 57 | 59.1045 | 0.077701
26 | -169.045 | 37 | 7000 | 44 | 59.1045 | 5.1851
27 | -169.11 | 37 | 7000 | 63 | 59.1045 | 0.24087
28 | -169.175 | 37 | 7000 | 49 | 59.1045 | 2.0837
29 | -169.245 | 36 | 7000 | 75 | 59.1045 | 3.3689
30 | -169.305 | 37 | 7000 | 66 | 59.1045 | 0.72042
31 | -169.375 | 37 | 7000 | 59 | 59.1045 | 0.00018512
32 | -169.44 | 37 | 7000 | 57 | 59.1045 | 0.077701
33 | -169.505 | 37 | 7000 | 46 | 59.1045 | 3.7332

## Setup
[5 empty] | Delta = | -0.065
| Plate H1 |  |  |  | Nsteps = | 33
Tooth | Xtel | X-AXIS | Y-AXIS | Z-AXIS |  | X-finish | Xwall | Xwall2 | WallAverage | Diff | REC | X-AXIS | Y-AXIS | Z-AXIS | MON1 | Depth
1 | -170.04 | -169.04 | -15.54 | 150 |  | -171.12 | -170.078 | -170.0627 | -170.0703 | 0.015362 | 1 | -169.9203 | -15.54 | 150 | 1 | 0.15
2 | -169.65 | -168.65 | -15.58 | 141.605 |  | -170.73 | -169.6113 | -169.6143 | -169.6128 | -0.0029536 | 2 | -169.4628 | -15.58 | 141.605 | 1 | 0.15
3 | -169.78 | -168.78 | -15.58 | 131.32 |  | -170.86 | -169.7769 | -169.7708 | -169.7739 | 0.0061307 | 3 | -169.6239 | -15.58 | 131.32 | 1 | 0.15
4 | -168.715 | -167.715 | -15.62 | 120.44 |  | -169.795 | -168.6016 | -168.5964 | -168.599 | 0.005122 | 4 | -168.449 | -15.62 | 120.44 | 1 | 0.15
5 | -168.75 | -167.75 | -15.625 | 111.03 |  | -169.83 | -168.8027 | -168.7869 | -168.7948 | 0.015743 | 5 | -168.6448 | -15.625 | 111.03 | 1 | 0.15
6 | -168.725 | -167.725 | -15.625 | 102.065 |  | -169.805 | -168.5823 | -168.6181 | -168.6002 | -0.035735 | 6 | -168.4502 | -15.625 | 102.065 | 1 | 0.15
7 | -170.235 | -169.235 | -15.71 | 90.885 |  | -171.315 | -170.2353 | -170.2651 | -170.2502 | -0.029714 | 7 | -170.1002 | -15.71 | 90.885 | 3 | 0.15
8 | -170.445 | -169.445 | -15.71 | 81.955 |  | -171.525 | -170.4245 | -170.4689 | -170.4467 | -0.044412 | 8 | -170.2967 | -15.71 | 81.955 | 1 | 0.15
9 | -169.6 | -168.6 | -15.725 | 71.845 |  | -170.68 | -169.5558 | -169.4962 | -169.526 | 0.059573 | 9 | -169.376 | -15.725 | 71.845 | 1 | 0.15
10 | -169.175 | -168.175 | -15.8 | 60.78 |  | -170.255 | -168.9367 | -168.9581 | -168.9474 | -0.021426 | 10 | -168.7974 | -15.8 | 60.78 | 1 | 0.15
11 | -168.41 | -167.41 | -15.8 | 50.97 |  | -169.49 | -168.2811 | -168.2846 | -168.2829 | -0.0034907 | 11 | -168.1329 | -15.8 | 50.97 | 1 | 0.15
[11 empty] | 12 | -167.5703 | -15.54 | 150 | 1 | 2.5
| Plate G2 | [9 empty] | 13 | -167.1128 | -15.58 | 141.605 | 1 | 2.5
Tooth | Xtel | X-AXIS | Y-AXIS | Z-AXIS | [6 empty] | 14 | -167.2739 | -15.58 | 131.32 | 1 | 2.5
1 | -169.455 | -168.455 | -15.89 | 25.355 |  | -170.535 |  |  |  |  | 15 | -166.099 | -15.62 | 120.44 | 1 | 2.5
2 | -169.66 | -168.66 | -15.97 | 14.785 |  | -170.74 |  |  |  |  | 16 | -166.2948 | -15.625 | 111.03 | 1 | 2.5
3 | -170.09 | -169.09 | -15.97 | 4.81 |  | -171.17 |  |  |  |  | 17 | -166.1002 | -15.625 | 102.065 | 1 | 2.5
4 | -168.32 | -167.32 | -15.97 | -5.115 |  | -169.4 |  |  |  |  | 18 | -167.7502 | -15.71 | 90.885 | 3 | 2.5
5 | -167.78 | -166.78 | -16.185 | -15.825 |  | -168.86 |  |  |  |  | 19 | -167.9467 | -15.71 | 81.955 | 1 | 2.5
6 | -168.955 | -167.955 | -16.315 | -24.94 |  | -170.035 |  |  |  |  | 20 | -167.026 | -15.725 | 71.845 | 1 | 2.5
7 | -169.55 | -168.55 | -16.315 | -34.53 |  | -170.63 |  |  |  |  | 21 | -166.4474 | -15.8 | 60.78 | 1 | 2.5
8 | -168.825 | -167.825 | -16.32 | -43.54 |  | -169.905 |  |  |  |  | 22 | -165.7829 | -15.8 | 50.97 | 1 | 2.5
9 | -167.885 | -166.885 | -16.395 | -54.3 |  | -168.965 |  |  |  |  | 23 | -169.8002 | -15.71 | 90.885 | 3 | 0.45
10 | -167.885 | -166.885 | -16.535 | -65.115 |  | -168.965 |  |  |  |  | 24 | -169.5002 | -15.71 | 90.885 | 3 | 0.75
11 | -168.73 | -167.73 | -16.9 | -76.67 |  | -169.81 |  |  |  |  | 25 | -169.2002 | -15.71 | 90.885 | 3 | 1.05
[11 empty] | 26 | -168.9002 | -15.71 | 90.885 | 3 | 1.35
| -167.78 |  | -15.54 | 150 | [6 empty] | 27 | -168.6002 | -15.71 | 90.885 | 3 | 1.65
| -170.445 |  | -16.9 | -76.67 | [6 empty] | 28 | -168.3002 | -15.71 | 90.885 | 3 | 1.95
[11 empty] | 29 | -168.0002 | -15.71 | 90.885 | 3 | 2.25
[15 empty] | 47 | 13000 | 67 | 8.7472
[16 empty] | 14000 | 73 | 9.5306
[16 empty] | 15000 | 79 | 10.3139